SENTINEL — Implementation Master Document

AI-Powered GPU Infrastructure Management Platform

Master implementation reference • High-level architecture locked • ML choices experimentally validated

# 1. Purpose

This is the master implementation specification for SENTINEL. It defines the locked high-level architecture, current data situation, ML research plan, validation rules, software plan, and decisions that should remain stable unless experimental evidence requires a change.

The architecture is locked at system level. Individual ML models remain experimental until the data and controlled experiments justify them.

# 2. Locked Project Direction

SENTINEL transforms GPU/HPC telemetry, workload context, node information and monitoring signals into temporal anomaly evidence, failure-associated risk, health assessment, prioritization, explanations, recommendations and operational alerts.

# 3. Locked High-Level Architecture

Data Sources

Data Ingestion & Preprocessing

Temporal + Contextual Feature Engineering

ML/DL Anomaly Detection

Evidence Fusion & Composite Anomaly Scoring

Failure Association & Risk Assessment

GPU/Node Health State

Explainability & Recommendations

Dashboard & Alerts

Experimental Pipeline & Validation

Canonical flow: Data Sources → Ingestion/Preprocessing → Temporal & Contextual Features → ML/DL Detection → Evidence Fusion → Failure Association/Risk → Health State → Explainability/Recommendations → Dashboard/Alerts.

# 4. Architecture Components

## 4.1 Data Sources

GPU telemetry: temperature, power, utilization, memory and related GPU measurements.

CPU/node telemetry: CPU usage, temperatures, frequencies and node-level signals where available.

Job/scheduler information: job state, allocation identifiers, workload context and scheduler metadata where available.

Node/system information: node state, hardware/OS context and topology.

Monitoring-pipeline signals: exporter/scrape status, telemetry gaps and observability signals when available.

Environmental/system signals: cooling, power or other contextual measurements where available.

Primary research dataset: ClusterWise / OLCF Summit; GWDG and Marconi100 may be used for external validation.

## 4.2 Data Ingestion & Preprocessing

Load telemetry from Parquet or equivalent formats.

Align timestamps across telemetry sources.

Sort records by host/node and timestamp before temporal processing.

Handle duplicates, missing values, invalid values and data-quality problems.

Resample only when required by the source or experiment.

Create explicit data-quality indicators rather than silently treating every gap as normal.

Keep train/validation/test separation strict to avoid temporal leakage.

## 4.3 Feature Engineering

Current telemetry values.

Temporal deltas and rates of change.

Past-only rolling statistics such as rolling mean and rolling standard deviation.

Trend/slope features and lag features.

Time-of-day/seasonality where appropriate.

Context features such as job state, allocation, node state and workload intensity.

Telemetry-quality features such as missingness or scrape degradation when supported.

## 4.4 ML/DL Anomaly Detection

Isolation Forest is the baseline anomaly detector.

A temporal LSTM/GRU autoencoder is a proposed candidate for learning normal sequence behaviour.

A forecasting model such as LSTM/GRU/TCN is a proposed candidate for next-state prediction and prediction-error anomaly scoring.

These models are experimental candidates, not guaranteed final choices.

XID/failure labels must never be model inputs for anomaly detection.

## 4.5 Evidence Fusion

Combine independent evidence sources rather than relying on one detector.

Candidate signals: IF score, temporal AE score, forecasting error, trend signals, context deviation, failure association and telemetry-quality evidence.

Start with transparent normalized fusion; compare with learned fusion only if justified.

Weights must be justified by validation experiments.

## 4.6 Failure Association & Risk

Associate anomaly episodes with known XID/error/failure events after anomaly detection.

Measure temporal distance between anomaly onset and failure.

Construct pre-failure windows only when the dataset provides sufficient temporal evidence.

Do not claim failure prediction until pre-failure predictive performance is demonstrated.

If precursor evidence is insufficient, describe the function as failure-associated risk assessment.

## 4.7 Health State

Produce a GPU/node health state from validated evidence.

Potential states: Critical, High, Medium, Low or a continuous health/risk score.

Health state must be evidence-driven and calibrated; avoid arbitrary scoring.

## 4.8 Explainability & Recommendations

Explain which telemetry signals contributed to an alert.

Show temporal trends around the anomaly.

Show relevant XID/error evidence where applicable.

Use SHAP, feature importance, perturbation, reconstruction contribution or another appropriate method.

Recommendations are operational guidance, not claims of automatic physical intervention.

## 4.9 Dashboard & Alerts

Real-time or near-real-time monitoring view.

Risk-ranked GPUs/nodes.

Telemetry trends and anomaly timelines.

Health/risk state and explainable alert details.

Notifications and drill-down/investigation views.

Dashboard logic must not contain undocumented ML logic.

## 4.10 Experimental Validation

Every major modeling component must be evaluated against an explicit baseline.

Use normal-only validation for unsupervised threshold selection when appropriate.

Use precision, recall, F1, PR-AUC where meaningful, false-positive rate and confusion matrices.

For failure association, evaluate event-level detection, lead time and false alarms per unit time where possible.

Evaluate cross-dataset generalization where labels and schemas permit it.

# 5. Current Dataset State

Current local project structure:

C:/Users/Shirley/joshua/CRCE/CAPSTONE/Sentinel/

├── dataset/ClusterWise_mini/olcf_task/

│   ├── train.parquet

│   ├── val.parquet

│   ├── test.parquet

│   ├── test_anomaly.parquet

│   ├── train_cluster.parquet

│   ├── val_cluster.parquet

│   ├── test_cluster.parquet

│   ├── train_mmd.parquet

│   ├── val_mmd.parquet

│   └── test_mmd.parquet

├── scripts/

├── models/

└── future backend/ml/etc.

# 6. Verified Local Dataset Facts

train.parquet: 864,000 rows, 38 columns, 100 hosts, 8,640 samples/host, 10-second interval, 24 hours, normal-only.

val.parquet: 144,000 rows, 100 hosts, 4 hours, normal-only.

test.parquet: 720,000 rows, 100 hosts, 20 hours, normal-only.

test_anomaly.parquet: 863,995 rows; 1,105 anomalous records; all anomalies have XID 31.

Anomaly rate in test_anomaly.parquet is approximately 0.128%.

The split supports unsupervised/one-class anomaly detection: learn normal behaviour from train, choose thresholds on normal validation, and evaluate on normal test and anomalous test_anomaly.

Accuracy is not a suitable headline metric because the anomaly rate is extremely low.

# 7. Current Temporal ML Prototype

Current pipeline: Raw telemetry → sort by hostname/timestamp → current values + deltas + 6-point rolling mean/std → scaling → Isolation Forest.

Current base features:

p0_power, p1_power

gpu0–gpu5 core temperature and memory temperature

ps0_input_power, ps1_input_power

p0_temp_mean/min/max and p1_temp_mean/min/max

22 base features × 4 representations = 88 ML features.

Current artifacts:

models/sentinel_isolation_forest.joblib

models/sentinel_scaler.joblib

models/sentinel_features.joblib

Isolation Forest: 200 estimators, contamination='auto', random_state=42, n_jobs=-1.

# 8. Known Prototype Issues

Current rolling windows include the current point. This is acceptable for retrospective experiments but causal/past-only windows are required for online claims.

Current bfill can use future observations for the first rows of a host; replace with causal handling for online/early-warning experiments.

Isolation Forest decision_function has higher values for more normal observations; define the anomaly score consistently so higher means more anomalous.

Evaluation still needs to be implemented.

XID must not be an anomaly-model input.

Thresholds must be selected without tuning on the anomalous test set.

# 9. Dataset & Research Strategy

The public ClusterWise release is hundreds of gigabytes, so SENTINEL will not attempt to train directly on the entire release locally. Use strategic subsets/windows or streaming approaches.

Development: current ClusterWise-mini for rapid iteration.

Primary research: selected full ClusterWise/OLCF periods, hosts and failure windows.

Failure-specific study: OLCF double-bit-error data where appropriate.

External/generalization study: GWDG GPU-detachment telemetry and/or CINECA Marconi100.

Do not blindly merge heterogeneous datasets; first align schemas, units, sampling rates and label semantics.

# 10. Experimental Roadmap

Experiment 1 — Raw-feature Isolation Forest baseline.

Experiment 2 — Isolation Forest + temporal features.

Experiment 3 — LSTM/GRU autoencoder.

Experiment 4 — IF + temporal AE + trend evidence fusion.

Experiment 5 — Failure association and pre-failure analysis.

Experiment 6 — Context-aware workload analysis.

Experiment 7 — Explainability.

Experiment 8 — Health/risk scoring and prioritization.

Experiment 9 — Cross-dataset validation/generalization.

# 11. Evaluation Rules

Point-wise detection: precision, recall, F1, PR-AUC where meaningful, false-positive rate and confusion matrix.

Event-level detection: event recall, false alarms per time period and detection delay.

Early warning: lead time between persistent anomaly onset and known failure.

Risk ranking: evaluate enrichment/consistency against known failure events where labels permit.

Explainability: check that explanations correspond to model evidence and are consistent for similar alerts.

Cross-dataset results must be reported per dataset; do not claim universal performance from one dataset.

# 12. Leakage & Scientific Validity Rules

Never use XID, failure labels, future failure information or post-failure telemetry as input for early warning.

Thresholds are selected on validation data, not the final anomaly test set.

Temporal splits must respect time when claiming future prediction.

Scalers and other preprocessing parameters are fitted on training data only.

Future-looking features must never be used for real-time claims.

Do not call a composite score a failure probability unless it is statistically calibrated.

Do not claim causality from telemetry/failure correlation.

# 13. Backend & Software Plan

ML: Python, NumPy, pandas/polars, scikit-learn, PyTorch.

Inference API: FastAPI.

Data store: PostgreSQL + TimescaleDB.

Frontend: React + TypeScript + Tailwind CSS.

Visualization: Recharts/Chart.js.

Live GPU telemetry: NVIDIA NVML/DCGM.

Containerization: Docker/Docker Compose where useful.

Testing: preprocessing tests, feature tests, model regression tests, API tests and end-to-end alert tests.

# 14. Recommended Project Structure

Sentinel/

├── dataset/

├── scripts/

│   ├── inspect_parquet.py

│   ├── train_anomaly_model.py

│   ├── evaluate_anomaly_model.py

│   └── dataset_forensics.py

├── ml/

│   ├── preprocessing.py

│   ├── temporal_features.py

│   ├── baselines/

│   ├── temporal_models/

│   ├── fusion/

│   ├── risk/

│   └── explainability/

├── models/

├── backend/

│   ├── app/

│   └── tests/

├── frontend/

├── configs/

├── reports/

└── docs/

# 15. Immediate Next Steps

Freeze the high-level architecture as the master architecture.

Perform dataset forensics on ClusterWise-mini anomaly/failure windows.

Enumerate XID/error values and temporal distributions.

Measure telemetry behaviour before known failure/anomaly events.

Determine whether legitimate pre-failure windows exist.

Implement evaluate_anomaly_model.py for the existing Isolation Forest.

Implement causal temporal feature engineering.

Run baseline metrics before introducing deep learning.

Implement the temporal deep-learning candidate only after baseline/data analysis.

Document all experiments, metrics, configurations and limitations.

# 16. Locked vs Experimental Decisions

| Area | Status | Decision |
| --- | --- | --- |
| System architecture | LOCKED | Use the 10-stage SENTINEL architecture. |
| Isolation Forest | LOCKED | Keep as baseline. |
| Temporal features | LOCKED | Use temporal/contextual analysis; causal implementation for online claims. |
| LSTM/GRU autoencoder | EXPERIMENTAL | Evaluate; do not assume final. |
| Forecasting model | EXPERIMENTAL | Evaluate only if justified. |
| Fusion | EXPERIMENTAL | Start transparent; compare learned fusion if justified. |
| Failure-risk model | EXPERIMENTAL | Depends on usable pre-failure evidence. |
| Health score | EXPERIMENTAL | Build after anomaly/failure evidence is quantified. |
| Explainability | REQUIRED | Important alerts expose evidence/reasons. |
| Dashboard | LOCKED DIRECTION | Expose monitoring, risk, health, explanations and drill-down. |
| Cross-dataset validation | RESEARCH GOAL | Attempt where schemas/labels support it. |

# 17. Non-Negotiable Principles

Do not add an ML model merely to make the project look advanced.

Every model must solve a distinct problem and have an evaluation criterion.

Do not fabricate failure labels or call arbitrary scores failure probabilities.

Keep anomaly detection separate from failure-event evidence to prevent leakage.

Prefer temporal and context-aware reasoning over isolated point-wise classification.

Prioritize actionable, explainable outputs over opaque scores.

Use the dashboard to communicate evidence and uncertainty.

Final claims must be supported by experiments and documented limitations.

# 18. Definition of Done

Reproducible ingestion/preprocessing pipeline.

Validated temporal feature pipeline.

Evaluated Isolation Forest baseline.

Evaluated at least one temporal deep-learning candidate.

Evaluated evidence fusion.

Failure association/pre-failure analysis where supported.

Defined health/risk representation.

Explainable alerts.

Evidence-based GPU/node prioritization.

Backend API.

Frontend dashboard.

Documented ablation/comparison results and limitations.

# 19. Working Rule for Future Sessions

Treat this document as the master implementation reference. Any proposed model or feature must map to an architecture stage, solve a stated problem, identify required evidence and define an evaluation method. Experimental evidence may change a model choice, but should not casually change the locked high-level architecture.